BRAINSTEM & CEREBELLUM

ANNOTATION GUIDELINES

Annotation Review & Definition Refinement Framework

Radiology Image Annotation & Quality Validation Tool | June 2026

| Prepared by | Zainab Malik |
| --- | --- |
| Institution | Health Informatics, Deggendorf Institute of Technology |
| Project | Radiology Image Annotation & Quality Validation Tool |
| Scope | Posterior Fossa (Brainstem & Cerebellum) + Chest X-Ray |
| Imaging Modalities | MRI (T1, T2, FLAIR, DWI/ADC, T1+Gad) and CT |
| Tool Stack | Python 3.11, Streamlit, pandas, Pillow, pydicom, numpy |
| GitHub | github.com/zainabmalik1532004-ux/radiology-annotation-validation-tool |

1. Introduction & Purpose

This document provides the annotation guidelines, quality control criteria, and validation framework for the Radiology Image Annotation & Quality Validation Tool. It covers annotation review and annotation definition refinement workflows for brainstem, cerebellum, and chest X-ray imaging datasets used in AI model training.

Accurate annotation of the brainstem and cerebellum is critical for training AI models to detect neurological conditions such as posterior fossa tumors, multiple sclerosis plaques, cerebellar atrophy, and brainstem infarctions.

1.1 Scope of This Document

Anatomical definitions for all key brainstem and cerebellar structures

Annotation rules for each structure on MRI (T1, T2, FLAIR) and CT

Quality control criteria for annotation review

Common annotation errors and how to avoid them

Validation checklist before dataset handoff to AI pipeline

Tool field reference, how each annotation field maps to the guidelines.

1.2 Target Users

Medical annotators reviewing and labeling neuroimaging datasets

Annotation team leads defining and refining labeling standards

AI researchers validating training data quality

R&D teams building radiology AI models.

2. Project Overview, Annotation & Validation Tool

The tool is a Python/Streamlit web application that operationalizes these annotation guidelines. It enforces annotation review rules through mandatory form fields, and supports annotation definition refinement by providing a structured, versioned framework for labeling decisions.

| Step | What Happens in the Tool | Guideline Section |
| --- | --- | --- |
| Upload Image | Annotator uploads chest X-ray or brain MRI/CT | Section 4 — Imaging Modalities |
| Select Scan Type | Choose Chest X-Ray or Brainstem & Cerebellum mode | Sections 5.2 & 5.3 — Structure Rules |
| Select Structure | Pick anatomical structure from guideline-defined dropdown | Sections 5.2 & 5.3 — Structure Definitions |
| Select Imaging Sequence | Record T1/T2/FLAIR/DWI/CT — mandatory field | Section 4 — Sequence Reference Rule |
| Select Laterality | Left/Right for bilateral structures — enforced | Section 5.1 — Bilateral Labeling Rule |
| Boundary Certainty Flag | Mark certain or uncertain boundary | Section 6.1 — Boundary Flags Check |
| Clinical Flag | Flag Chiari, artifact, asymmetry, demyelination | Sections 5.3.3 & 6.1 — Clinical Flags |
| Confidence & Notes | Rate certainty 1-10; document observations | Section 6.1 — Quality Threshold |
| Save & Validate | Annotation saved; dashboard runs quality checks | Sections 6.1 & 6.2 — Annotation Review |

3. Anatomical Overview

Before performing any annotation, the annotator must have a clear understanding of the structures involved. Every structure in the tool dropdown corresponds to a precisely defined anatomical region described in this section.

3.1 The Brainstem

| Structure | Location | Key Function | Clinical Relevance |
| --- | --- | --- | --- |
| Midbrain | Superior brainstem, below thalamus | Visual & auditory reflexes, motor control | Parinaud syndrome, Weber syndrome |
| Pons | Middle brainstem, anterior to cerebellum | Breathing regulation, facial sensation | Central pontine myelinolysis, MS plaques |
| Medulla Oblongata | Inferior brainstem, transitions to spinal cord | Heart rate, breathing, swallowing | Lateral medullary syndrome (Wallenberg) |

3.1.1 Midbrain Landmarks

Cerebral aqueduct (Aqueduct of Sylvius) midline CSF channel

Superior and inferior colliculi, visible as paired bumps on dorsal surface

Cerebral peduncles paired white matter tracts on ventral surface.

Red nucleus, round structure visible on T2 as hypointense

Substantia nigra, crescent-shaped, hypointense on T2

3.1.2 Pons Landmarks

Basilar artery impression, midline groove on anterior surface

Fourth ventricle floor (pontine tegmentum)

Pontine nuclei scattered gray matter within white matter.

Transverse pontine fibers, horizontal white matter bands

Middle cerebellar peduncles, connecting pons to cerebellum.

3.1.3 Medulla Oblongata Landmarks

Pyramids paired anterior ridges containing corticospinal tracts.

Olives, oval prominences lateral to pyramids.

Obex, marks transition to spinal cord / caudal 4th ventricle

Inferior cerebellar peduncles, posterior lateral connections to cerebellum

3.2 The Cerebellum

| Region | Description | Function | Imaging Appearance |
| --- | --- | --- | --- |
| Cerebellar Vermis | Central midline, connects hemispheres | Axial balance, gait coordination | T1: isointense, tree-like folial pattern |
| Cerebellar Hemispheres | Two lateral lobes (Left/Right) | Limb coordination, fine motor skills | T1/T2: foliated gray matter cortex |
| Cerebellar Tonsils | Inferior lobules near foramen magnum | Important landmark | Critical: position relative to foramen magnum |
| Dentate Nucleus | Deep cerebellar nucleus, lateral WM | Relay motor signals to thalamus | T2: hypo intense due to iron. depositions |
| Flocculonodular Lobe | Anterior inferior cerebellum | Vestibular function, eye movement | Small, adjacent to 4th ventricle |

3.2.1 Cerebellar Peduncles

| Peduncle | Connection | Imaging Level | Main Tract |
| --- | --- | --- | --- |
| Superior Cerebellar Peduncle (SCP) | Cerebellum to Midbrain | Midbrain/pons junction | Dentato-rubro-thalamic tract |
| Middle Cerebellar Peduncle (MCP) | Cerebellum to Pons | Mid-pons level | Pontocerebellar fibers |
| Inferior Cerebellar Peduncle (ICP) | Cerebellum to Medulla | Medullary level | Spinocerebellar tracts |

4. Imaging Modalities & Signal Characteristics

The tool requires annotators to select the imaging sequence for every annotation. Selecting the wrong sequence is one of the most common annotation errors.

4.1 MRI Sequences Posterior Fossa

| Sequence | Brainstem Appearance | Cerebellum Appearance | Best Used For |
| --- | --- | --- | --- |
| T1-weighted | Isointense gray/white matter contrast | Clear folial pattern, white matter bright | Anatomy, boundaries, atrophy |
| T2-weighted | CSF bright; nuclei visible by iron contrast | Gray matter bright; dentate nucleus dark | Edema, demyelination, infarction |
| FLAIR | CSF suppressed; parenchymal lesions bright | Lesions in cortex/white matter highlighted | MS plaques, ischemic changes |
| DWI/ADC | Acute infarcts bright on DWI/dark on ADC | Acute cerebellar infarcts visible | Acute stroke detection |
| T1 + Gadolinium | Enhancement = blood-brain barrier breakdown | Tumor enhancement, metastases | Tumors, abscesses, inflammation |

4.2 CT Posterior Fossa Considerations

Normal brainstem: isodense to gray matter (30-40 HU)

Acute hemorrhage: hyperdense (60-90 HU) annotate as hemorrhage, not normal tissue.

Beam hardening artifact: dark bands between petrous bones DO NOT annotate as lesion.

Cerebellar hemispheres: symmetric, foliated appearance asymmetry warrants flag.

5. Annotation Definition Rules

This section defines the precise rules for annotating each structure. These rules form the core of annotation definition refinement ensuring all team members apply identical standards. The tool enforces these rules through mandatory fields, structured dropdowns, and automated validation checks.

5.1 General Annotation Principles

Use the minimum bounding region that fully includes the target structure

Do not include adjacent CSF spaces within a parenchymal annotation

When structure boundaries are unclear, use the 'Uncertain needs review' boundary flag.

All annotations must reference the specific imaging sequence mandatory field in tool.

Bilateral structures require separate Left/Right labels enforced by the tool's laterality field.

Do not annotate artifacts use the 'Beam hardening artifact' clinical flag instead.

5.2 Brainstem Annotation Rules

5.2.1 Whole Brainstem Segmentation

| Rule | Instruction |
| --- | --- |
| Superior boundary | Slice where cerebral aqueduct first becomes visible marks midbrain-diencephalon junction |
| Inferior boundary | Slice at the level of the foramen magnum where pyramidal decussation is visible |
| Lateral boundaries | Exclude the cerebellar peduncles unless specifically requested in task definition |
| Anterior boundary | Exclude the basilar artery and surrounding CSF |
| Posterior boundary | Include the 4th ventricle roof; exclude the cerebellum |

5.2.2 Sub-structure: Midbrain

Superior colliculi: annotate as paired oval structures on dorsal midbrain; T2 isointense

Inferior colliculi: smaller, more inferior to superior colliculi; part of auditory pathway

Cerebral peduncles: butterfly-shaped white matter on ventral midbrain; T1 hyperintense

Cerebral aqueduct: do not annotate as tissue label as CSF space only.

5.2.3 Sub-structure: Pons

Basis pontis: anterior bulge of pons; annotate separately from tegmentum when required

Pontine tegmentum: dorsal pons including cranial nerve nuclei (CN V-VIII)

Middle cerebellar peduncles: lateral white matter tracts include fully up to cerebellar white matter.

4th ventricle floor: posterior pons surface label as boundary, not parenchyma

5.2.4 Sub-structure: Medulla

Pyramids: anterior paired structures; include full length from pons junction to decussation

Inferior olivary nuclei: lateral to pyramids; visible as oval gray matter on T2

Posterior columns: dorsal medulla; annotate separately only on high-resolution sequences

5.3 Cerebellum Annotation Rules

5.3.1 Cerebellar Hemisphere Segmentation

Medial boundary: cerebellar vermis (label vermis separately)

Superior boundary: tentorium cerebelli does not include supratentorial structures.

Inferior boundary: cerebellar tonsils (include within hemisphere unless specifically isolating)

Anterior boundary: cerebellar peduncles include up to peduncle attachment point.

5.3.2 Cerebellar Vermis

Midline structure divide at the midline on axial and coronal views

Superior vermis: above the primary fissure (lobules I-V)

Inferior vermis: below primary fissure (lobules VI-X); includes nodulus and uvula

Do not include the vallecula (CSF space between tonsils below vermis)

5.3.3 Cerebellar Tonsils Clinical Importance

CLINICAL FLAG: Cerebellar tonsils extending more than 5mm below the foramen magnum indicates possible Chiari malformation Type I. Select 'Tonsil descent > 5mm possible Chiari Type I' in the tool's clinical flag dropdown.

Normal position: at or above the level of the foramen magnum

Measurement required: distance from tip of tonsil to foramen magnum line (McRae's line)

Annotation: mark tip of tonsil and reference line on sagittal T1

5.3.4 Dentate Nucleus

Located within the white matter of each cerebellar hemisphere

Appears as crinkled, tooth-like gray matter on high-resolution T2

Characteristically hypointense on T2 due to iron deposition do not flag as pathology.

Bilateral annotations required left and right labeled separately (enforced by laterality field)

6. Quality Control & Annotation Review Criteria

This section defines the criteria used during annotation review the process of checking whether completed annotations are medically accurate and technically correct. All checks in Section 6.1 are automated by the tool Validation Dashboard.

6.1 Annotation Review Checklist

| Check | Criteria | Tool Implementation | Pass/Fail/Flag |
| --- | --- | --- | --- |
| Boundary accuracy | Boundary follows anatomical margins within 2mm | Boundary certainty field | Fail if > 2mm |
| Structure completeness | Entire target structure included | Structure dropdown from guideline list | Fail if part absent |
| CSF exclusion | No CSF spaces in solid tissue annotation | Notes + annotation review | Fail if CSF included |
| Artifact labeling | No artifacts annotated as pathology | Clinical flag: Beam hardening option | Flag for review |
| Bilateral symmetry | L/R structures labeled independently | Laterality field enforces L/R | Flag if asymmetry |
| Sequence reference | Annotation tied to correct sequence | Imaging sequence mandatory field | Fail if wrong |
| Boundary flags | Uncertain boundaries marked | Boundary certainty field | Pass only if flagged |
| Clinical flags | Abnormal findings flagged | Clinical flag dropdown in form | Fail if missed |

6.2 Annotation Definition Refinement Process

1.  Identify the systematic error through annotation review

2.  Document the exact ambiguity in the original guideline

3.  Propose a refined definition with explicit criteria

4.  Validate with a radiologist or medical expert

5.  Update this guideline document with version note

6.  Re-annotate affected cases using the refined definition

6.3 Common Annotation Errors Posterior Fossa

| Error Type | Description | Prevention |
| --- | --- | --- |
| Tonsil-hemisphere confusion | Cerebellar tonsils included within hemisphere label | Always segment tonsils separately on sagittal view first |
| Peduncle exclusion | Cerebellar peduncles excluded from brainstem boundary | Follow boundary rules in Section 5.2.1 strictly |
| CT artifact as lesion | Beam hardening artifact labeled as infarction | Use clinical flag; always cross-reference MRI if available |
| Vermis-hemisphere overlap | Vermis boundary not clearly separated from hemispheres | Use midline sagittal slice to define vermis first |
| CSF inclusion in brainstem | Peribrainstem cisterns included in brainstem annotation | Exclude all CSF — annotate only parenchymal tissue |
| Wrong sequence | T1 annotation applied to T2 image or vice versa | Always record sequence type at start of session |
| Missed pathology flag | Abnormal finding annotated as normal without flag | Any asymmetry requires a flag — no exceptions |

6.4 Automated Validation Dashboard

| Quality Check | Threshold | Alert Type | Action Required |
| --- | --- | --- | --- |
| Low confidence annotation | Confidence < 5/10 | Warning (yellow) | Re-annotate before handoff |
| Missing notes | Notes field empty | Warning (yellow) | Add documentation |
| Uncertain boundary flag | Boundary = Uncertain | Warning (yellow) | Escalate for radiologist review |
| Clinical flag present | Any flag other than None | Error (red) | Expert sign-off required |
| Inter-annotator agreement | Dice coefficient < 0.80 | Pre-handoff check | Re-review and adjudicate |

7. Pre-Handoff Validation Checklist

Before any annotated dataset is handed off to the AI pipeline, the following validation must be completed.

| # | Validation Item | Tool / Manual | Status |
| --- | --- | --- | --- |
| 1 | All target structures annotated for 100% of cases in dataset | Manual review | [ ] Complete |
| 2 | Boundary accuracy verified against review checklist (Section 6.1) | Tool flags uncertain boundaries | [ ] Complete |
| 3 | Bilateral structures labeled independently (L/R separate) | Tool enforces laterality field | [ ] Complete |
| 4 | All imaging sequence references documented per annotation | Tool mandatory field | [ ] Complete |
| 5 | Clinical flags applied for all abnormal findings | Tool clinical flag field | [ ] Complete |
| 6 | All uncertain boundary flags reviewed and resolved or escalated | Tool dashboard warning | [ ] Complete |
| 7 | Inter-annotator agreement calculated and above threshold (>0.80 Dice) | Manual calculation | [ ] Complete |
| 8 | Artifact annotations removed from dataset | Tool clinical flag filter | [ ] Complete |
| 9 | Annotation definition version recorded in dataset metadata | Manual | [ ] Complete |
| 10 | Final review by medical expert completed and signed off | Manual | [ ] Complete |

8. Glossary of Key Terms

| Term | Definition |
| --- | --- |
| Annotation | The process of labeling structures or findings in a medical image for AI training |
| Annotation Definition Refinement | Updating labeling rules based on systematic review of errors or ambiguities |
| Annotation Review | Quality check of completed annotations against defined criteria |
| Arbor Vitae | The branching white matter of the cerebellum, visible on sagittal MRI as a tree-like structure |
| Beam Hardening | CT artifact causing dark bands in the posterior fossa due to X-ray absorption by bone |
| Cervicomedullary Junction | Anatomical transition point between medulla oblongata and spinal cord at foramen magnum |
| Chiari Malformation | Structural defect where cerebellar tonsils herniate below the foramen magnum |
| Dentate Nucleus | Largest deep cerebellar nucleus; appears hypointense on T2 due to iron content |
| Dice Coefficient | Statistical measure of annotation overlap between two annotators; range 0-1 (1 = perfect) |
| FLAIR | Fluid Attenuated Inversion Recovery — MRI sequence that suppresses CSF signal |
| Foramen Magnum | Large opening at base of skull through which brainstem transitions to spinal cord |
| Peduncle | White matter tract connecting cerebellum to brainstem (superior, middle, inferior) |
| Posterior Fossa | Inferior compartment of the skull containing brainstem and cerebellum |
| Segmentation | Delineating the full extent of an anatomical structure boundary in imaging |
| Tentorium Cerebelli | Dural fold separating cerebellum (infratentorial) from cerebrum (supratentorial) |
| Vermis | Central midline structure of the cerebellum connecting the two hemispheres |

Prepared by Zainab Malik  |  Health Informatics, Deggendorf Institute of Technology  |  June 2026